Specific CEN Keymark Scheme Rules

for

Solar Thermal Products

Draft version 5.06, September 5th 2002

Contents

0.	Introduction	4

1. 	Definition of scope	4

1.1 	Products covered by the scheme	4

1.2 	List of CEN/CENELEC standards concerned	4

2. 	References	5

3.	 Requirements and assessment procedures for bodies engaged in certification, testing and inspection	5

3.1	Requirements for certification, testing and inspection bodies	5

3.2	Assessment procedures for certification, testing and inspection bodies	6

4.	Specification of the manufacturers application file	6

5. 	Selection and submission of type test samples	6

5.1 	Selection	6

5.2 	Submission	7

5.3 	Changes in products – re-testing	7

6.	Factory production control  and initial assessment of manufacturing site	7

7.	Surveillance	8

7.1 .Special test	8

8.	Supervised manufacturers testing	9

9.	List of bodies for the implementation of the scheme.	9

10.	Fees	9

11.	Additional requirements for obtaining the license	10

ANNEX A – Solar Keymark Secretariat - 3. draft proposal	11

Organisation	11

Tasks	11

Financing	11

Budget	12

ANNEX B – Fees	13

# 0.	Introduction

These Specific CEN Keymark Scheme Rules for Solar Thermal Products are acting as a supplement to the general and basic rules for Keymark Schemes given in [1] (“CEN/CENELEC INTERNAL REGULATIONS –Part 4: Certification – 2001”).

Together these specific and general rules give the complete set of requirements for “Keymarking” solar thermal products covered by the EN12975 and EN12976. So to get the Solar Keymark one shall follow both the general rules and these specific rules.

The basic elements/requirements of the scheme are:

- A quality system (i.e. product related factory production control) covering the production line based on the EN ISO 9000 series of standards

- Third party initial inspection of the manufacturing site (and especially the quality system management)

- Third party initial type testing

- Third party periodic surveillance (i.e. periodic inspection)

The specific scheme rules are made in order to make the scheme operational for the involved parties. They are kept as close as possible to the minimum requirements for CEN-/CENELEC European Mark Scheme Rules as given in the part A.3.2 of [1].

Be sure always to have the latest version of these scheme rules - to be released from www.solarkeymark.org.

# 1. 	Definition of scope

## 1.1 	Products covered by the scheme

The scheme covers the following products within the work programme of the CEN/TC 312 for solar thermal products:

- Solar thermal collectors

- Factory made solar thermal systems

## 1.2 	List of CEN/CENELEC standards concerned

The scheme refers to the normative requirements in the following European Standards:

- EN 12975: Thermal solar systems and components - Solar collectors

- EN 12976: Thermal solar systems and components - Factory made systems

The standards are available from the national standardisation bodies (see: http://www.cenorm.be/catweb/27.160.htm).

# 2. 	References

- CEN/CENELEC INTERNAL REGULATIONS –Part 4: Certification – 2001

- EN ISO/IEC 17025,General requirements for the competence of testing and calibration laboratories

- EN 45011,General requirements for bodies operating product certification systems, CEN

How to get the references: [1] is available from www.solarkeymark.org. [2] and [3] from the national standardisation bodies.

# 3.		Requirements and assessment procedures for bodies engaged in certification, testing and inspection

## 3.1	Requirements for certification, testing and inspection bodies

The general requirements are given in [1], part B.2.3.

The only deviations from these general requirements in this specific scheme are:

Re B.2.3.1: 	The certification body shall be willing to – on request from the manufacturer – to employ any of the testing laboratories fulfilling the requirements in this scheme and listed in paragraph 9 “List of bodies for the implementation of the scheme”.Re B.2.3.2: 	Evaluation of laboratories by the certification body is not an alternative to accreditation after the end of 2003 (tests performed without accreditation shall be finished and reported before 31/12 2003).

Re B.2.3.3:	Temporarily the certification body, its laboratories and inspection bodies may receive temporary financial subsidy from independent national or European authorities to support their certification, testing or inspection activities in order to assist achieving the target given in the White Paper of the European Union: 100 million square meters of solar thermal collectors installed in EU in 2010. If certification bodies, test labs and/or inspection bodies are directly or indirectly subsidised, such institutes shall apply a uniform price level towards all EU manufacturers and suppliers. From the beginning of 2006 no subsidies for the certifiers/labs/inspectors shall be allowed. The Solar Keymark secretariat will follow and evaluate if these requirements are fulfilled.

## 3.2	Assessment procedures for certification, testing and inspection bodies

Assessment procedures of the certification, testing and inspection bodies is given in [1], part B.2.5.

# 4.	Specification of the manufacturers application file

The manufacturer and/or applicant shall supply the Certification body with the information required in the application form in [1], Annex B1 (to be downloaded from (www.solarkeymark.org). This information must also include the documentation required in the paragraphs:

- “7. Collector identification” of EN12975-1 (Solar collectors)

- “4.6 Documentation” of EN12976-1 (Factory made systems)

# 5. 	Selection and submission of type test samples

## 5.1 	Selection

The type test samples are taken out of the current production or from the stock of the manufacturer (first time at the initial inspection). The inspector points out the test samples and records their serial numbers. The manufacturer shall though his factory production control and quality management system proves conformity of the test sample with the series production of the type.

A type is generally defined as products with the same specifications for materials, sub-components, configurations and dimensions/sizes. However some degrees of freedom are allowed concerning the type definition of solar collectors:

- If the manufacturer produces the “same” collector in different lengths and/or widths (i.e. the only difference between two collectors is the length and/or the width) the collector is considered the same type and only one sample of the smallest and one sample of the largest module shall be taken and tested. The largest module shall fulfil the requirements of EN12975, and the smallest shall have a thermal performance test (clause 6 of EN12975-2). Then one Solar Keymark license only is necessary for the whole series of modules with different sizes. The performance figures used for this type shall be the performance figures corresponding to the measured instantaneous efficiency having the lowest integral in the interval of the reduced temperature from 0 – 0,1 K/(W/m²). In other words - the efficiency curve used for this type shall be the one embracing the smallest area.

- Custom built collectors (built in, roof integrated collectors that do not comprise factory made modules and are assembled directly on the place of installation) are handled as described in EN12975-1, paragraph 1”…a module with the same structure as the ready collector is tested. The module gross area in the case of custom built collectors shall be at least 2 m²”. The manufacturer has to explain the conformity of the test module with the normal production and must provide a detailed description of the components. The inspector has to verify the conformity on the site of production.

- Very large collector modules may be treated as the custom built ones – see above – if testing of the full size module is not possible.

## 5.2 	Submission

The inspector either takes with him the type test samples and delivers them to the test lab - or he marks them with a permanent mark (alternatively seals their packing) and tell the manufacturer to deliver them to the test lab.

## 5.3 	Changes in products – re-testing

The Keymark licence is not valid if a Keymarked product is changed/modified. However, depending on the modifications, it might not be necessary with a complete new initial type test. In order to keep the license the manufacturer shall supply the certifying body with a revised “manufacturers application file” – noting that the product is a modification of an already Keymarked product (specifying exactly which one) and specifying exactly which modification will be made. The certifying body will then assess the necessity of re-tests/supplementary tests on the basis of table D.1 in Annex D in EN 12975-1 (collectors) and table A.3 in Annex A in EN 12976-1 (systems).  Depending on the degree of changes in the production process, the certifier will evaluate if a new initial inspection of the production line is needed. If and when the certifier approves the new tests (and inspection), the manufacturer may mark the modified product.

Note: The fees for the modified product are the same as for a new product – but some expenses for testing and inspection might be saved. The manufacturer may keep the license for the original product.

Note: If the changes are only changes in sub-components/materials a new initial inspection should not be necessary.

# 6.	Factory production control and initial assessment of manufacturing site

At the initial inspection it is checked whether the manufacturing site fulfils the requirements stated in B.1.5.2 in [1] and the similar but more specific requirements given in A.3 of Annex A in EN12975-1 and EN12976-1:

“The manufacturer should exercise a permanent control of production (eg a quality management system based on the relevant part of the EN ISO 9000 series of standards or other). The manufacturer should record the results of production control (manufacturer’s record). These records should include at least the following:

- identification of the product under test

- the dates of sampling;

- the test methods applied;

- the test and inspection result;

- the date of the tests;

- the identification of the responsible authority within the manufacturer;

- calibration records;

In case of second or third party surveillance, the records should be available to the second or third party for examination”

Furthermore B.1.5.3.1 of [1] should be taken into account in the initial assessment.

# 7.	Surveillance

The surveillance procedures are given in B.1.5.4 of [1]. The only deviation from these general requirements in this specific scheme is: If the manufacturer runs a certified EN ISO 9000 quality management system, the type test samples has only to be taken every fifth year and inspection has to be done only every second year. The license is normally given for five years - the license fees are paid annually. The intervals of renewing the license and having a new type test are then corresponding. If the manufacturer does not have a certified EN ISO 9000 quality management system, inspection has to be done every year and test sampling every fith year.

## 7.1 .Special test

A special test can be ordered though the certification body in justified cases by anyone if the fulfilment of the requirements of the certification program or the registered values of a certified product are doubted.

The special test is normally to be made as a type verification and in agreement with the manufacturer by a second approved institute. If only one or few points of the certification program are failed by a product, the Certification Body decides in agreement with the test institute if the special test can be made as a partial or supplement test.

If the tested product doesn’t fulfil the requirements and/or do not comply with the registered values, the manufacturer has to carry the costs of the special test. If not the costs have to be carried by the party which questioned the fulfilment of the requirements or registered values and ordered the test though the certification body.

If the special test shows that the reclamation are due to random manufacturing error or transport damage, the test Institute has to take a second sample. The result of this test is the obliging result for the special test.

The manufacturer or a person authorised by the manufacturer must have the opportunity to take part during the whole procedure of the special test. He must be informed on the results of the test without delay to have the chance to react directly.

If the special test states deviations from the requirements and/or the registered values the manufacturer is told by the certification body to eliminate the faults in a certain limited time which should not exceed one month, depending on the extend and manner of the fabrication. Thereafter the test institute performs a new special test, which extend and manner is determined by the certification body consulting the test institute.

# 8.	Supervised manufacturers testing

Procedures such as "supervised manufacturers type testing" and/or "type testing at manufacturers' premises" are not included in these scheme rules.

Note: At the moment no manufacturers are doing the type testing themselves. In the future it might be taken into consideration to specify the rules for such an option.

# 9.	List of bodies for the implementation of the scheme.

You will find an updated list of empowered bodies for certification and approved inspection bodies and testing labs at the Solar Keymark web site: www.solarkeymark.org.

# 10.	Fees

By applying for the licence to use the CEN/CENELEC European Mark, the manufacturer also agrees to meet the costs listed in [1], A.4.2.

Actual fees to be paid to CCB and Solar Keymark Secretariat: See Annex B.

# 11.	Additional requirements for obtaining the license

Some large solar collectors have to be CE-marked, further information at:

http://www.solarkeymark.org

# ANNEX A – Solar Keymark Secretariat - 3. draft proposal

See more detailed proposal at http://www.solarkeymark.org/secretariat.asp.

## Organisation

In organising the Solar Keymark Secretariat it is proposed to make use of already existing organisations: It is proposed that the industry though their organisations ESIF and ASTIG (potentially to merged in 2002 into one organisation) point out a Solar Keymark Board for the secretariat (3-5 persons).

The board acts as a reference body for the secretariat and conducts the supervision of the work performed by the secretariat including its financial and accounting activities. The board shall take decisions on implementation and changes of the mark scheme rules. The board has at least two annual meetings with the secretariat – at these meetings also involved third party bodies are invited.

## Tasks

The tasks of the Solar Keymark Secretariat are:

- Establishing and running the secretariat with phone, fax, e-mail, address etc.

- Establishing and maintaining the web site (www.solarkeymark.org)

- Organising and reporting the two annual meeting with the board and involved third party bodies.

- Organising ad hoc technical meetings

- Assisting in promoting the Solar Keymark

- Maintain a record of third party bodies operating (within) the Solar Keymark Scheme

- Maintain a list of documents used in the Solar Keymark Scheme (relevant EN-standards, scheme rules, CCB documents, …)

- Participation in CEN/TC312 meetings

- Communication with CCB

- Financial reporting to the board

- Organising exchange of experience among test labs and industry on European level

- …

Supplementary tasks could be:

- Technical assistance in matters of standardisation to ESIF

- …

## Financing

Fees from manufacturers (and maybe empowered bodies) finance the Solar Keymark secretariat (To be considered: Application for 50% support from in EEC for a transitional period of 2 years? - done). The application was not approved.

## Budget

An estimate of the order of magnitude of the annual budget for running the secretariat is 100 kEuro (absolutely to be calculated in more detail). Assuming 200 Solar Keymarked products, this will give an average annual fee of 500 Euro per marked product (in the beginning while there’s only a few Keymarked products, EEC support might be necessary to keep the fees to a reasonable level). The fee might be organised as a basic fee of say 100 Euro plus a variable fee depending on the market volume of the product.

# ANNEX B – Fees

Fee per licence to the CCB for the right to use the CEN/CEN/ELEC European Mark:

2002:	300	Euro/year

2003:	300	Euro/year

2004:	300	Euro/year

2005:	300	Euro/year

Fee per license to the Solar Keymark Secretariat for running the tasks described in Annex A:

2003:	200		Euro/year

2004:	300		Euro/year

2005:	300		Euro/year

NOTE: The fee to Secretariat might be organised as a basic fee of say 100 Euro plus a variable fee depending on the market volume of the product.

NOTE: The fee could depend on the number of countries the product is marketed in – ex.: 1 country: 33%, max 3 countries: 66% and more than 3 countries 100% of the max fee

NOTE: Maybe the actual fees should be transferred to the web site for easier updating?

# Footnotes

The Keymark is a third-party certification mark for a product, demonstrating to users and consumers compliance of the product with the requirements of the relevant CEN/CENELEC Standard(s). It is granted after the satisfactory completion of a certification procedure, comprising product conformity tests (initial type tests), assessment of the documented factory production control for the related production line, production site inspection and surveillance.

The module sizes are compared based on gross area. Gross area is defined in EN12975, Annex I. The inspector shall inspect all the different sizes of the type to verify conformity.

The reduced temperature is defined in EN12975-2, paragraph 6.1.4.8.3, and the instantanious efficiency in 6.1.4.8.4.2.

- Collectors: The integral of the measured instantaneous efficiency at the special test shall be more than 90% of the already registered integral in the interval of the reduced temperature from 0 – 0,1 K/(W/m²). The reduced temperature is defined in EN12975-2, paragraph 6.1.4.8.3, and the instantaneous efficiency in 6.1.4.8.4.2.

- Systems:

- Solar-plus-supplementary systems: The calculated Qaux,net based on the special test shall be less than  110% of the originally calculated Qaux,net. Qaux,net is defined in EN12976-2, paragraph 5.9.3.2. The calculations to be compared shall be based on the Würzburg climate data and the design load already given by the manufacturer (see: EN12976-2 Annex B, table B.1).

- Solar-only and solar preheat systems: The calculated fsol based on the special test shall be more than 90% of the originally calculated fsol. fsol is defined in EN12976-2, paragraph 5.9.3.3. The calculations to be compared shall be based on the Würzburg climate data and the design load already given by the manufacturer (see EN12976-2 Annex B, table B.1).

ESIF is the European Solar Industry Federation. ESIF represents 10 national associations (with over 300 member companies) and 7 energy agencies, testing labs and institutes. A fusion of ESIF and ASTIG is in progress – ASTIG is a European association of individual solar thermal industries, which has also direct interest in the Solar Keymark.

The present level of this annual fee. The level is fixed by the CEN Certification Board (CCB)

Estimated level

Estimated level

Estimated level

Assuming support from the EU-Altener programme for the SolarKeymarkTakeOff project

Assuming support from the EU-Altener programme for the SolarKeymarkTakeOff project

Estimated level, when the Solar Keymark is widely accepted and the secretariat well established