# List of additional national requirements – on top of the EN’s

What is required additionally nationally in the EU countries on top of the requirements in the EN(V)12575-77 to market legally, fulfil national certification scheme and/or to get subsidy for solar thermal products. Necessary CE-marking is not mentioned. The list is prepared by the participants in the Altener “Solar Keymark” project.

Edited by Jan Erik Nielsen, Danish Technological Institute, 20/10/02.

| Country | Legal requirements | Requirements to get national certification | Requirements to get subsidy |
| --- | --- | --- | --- |
| Denmark | “VA-certification” of hot water tanks. This is done by ETA-Danmark (www.etadanmark.dk), due to Danish safety regulations. In practise this means: Required operational pressure: 10 bar (proved by a test with a pressure of 13 bar – this test will typically be part of the manufacturers ISO9000 system) If it is an enamel tank, detailed information on the enamel used should be given – to be examined by ETA-DK Costs are 700 Euro and the certificate is valid for 3 years Normally this is only paper work and it is done within a month | No national certification scheme at the moment | No subsidy at the moment |
| Austria | No further requirements | No national certification scheme at the moment | Performance test according EN 12975-2 only for federal subsidies for industry. Private persons get subsidies from regional bodies, (region and/or municipality) predominantely without any requirements. |
| Switzerland | No requirements. | No national certification scheme in force and none planned so far | In most cantons there are subsidies. If so, solar thermal systems are subsidised when collector successfully passed efficiency and durability tests and the test results are open to the customer (for reliability test only “passed” or “failed”). |
| Germany Information of IZES | Former “Bauartzulassung” based on the “Dampfkesselverordnung” Now “EG-Baumusterprüfung” according to “EG-Druckgeräterichtlinie” There is still some confusion about the correct application of this guideline | Former certification programmme “solar collectors” based on DIN 4757-3,4. Label “DIN-geprüft” from DIN CERTCO New certification programme “DIN plus solar collectors” based on EN 12975-1,2. Label from DIN CERTCO | Yearly solar energy yield of 350 kWh/m² for federal subsidy Yearly solar energy yield of 525 kWh/m² and/or “Blauer Engel” (RAL-UZ 73) to get subsidy in some states in germany |
| Sweden |  | “P-marking” of collector, which is basically following the EN’s with three exceptions : Higher limits for the mechanical load test:Negative load: 1200 Pa, Positive load: 2000 Pa Material testing of absorber and polymer covers according to national test methods Agreement on manufacturer’s internal quality control under third party supervision | “P-marking” of collector except the outdoor exposure test in EN 12975 and except agreement on manufacturer’s internal quality control under third party supervision. |
| Spain |  | Collectors: Test according to standard INTA 610001 which means basically two different tests: outdoor steady state efficient test and pressure drop across a collector with approximately the same characteristics as ISO 9806-1. Factory made systems: There is not a national certification. | Collectors: It is necessary to present the report with the results of the INTA 610001 tests in order to homologate a solar collector and to get subsidies. Factory made systems: Only one region in Spain (Andalucia) requires that the system overcome a thermal test (own procedure) to get subsidies, in the rest of Spain is enough if the collector is homologated. |
| Portugal | The hot water tanks that include an electrical resistance should verify the Product Standard in order to have CE Mark. | Certification scheme is in preparation by a Certification entity recognize by the Portuguese Quality System and will be based on the European Standards. | Collectors and systems must be tested according to European Standards in an Accredited Laboratory. |
| France (12975 & 12976) | Water contamination : system also conform to EN 1487. In case of single wall heat exchanger, the heat transfer fluid must be agreed by Conseil Supérieur d'Hygiène Publique de France. The materials in contact with domestic water should conform to arrêté du 29 mai 1997 relatif aux matériaux et objets utilisés dans les installations fixes de production, de traitement et de distribution d'eau destinée à la consommation humaine. | Valid "Avis Technique" (this document includes also requirements for implementation). Conformity with the general rules of the CSTbat certification and with "Règlement Technique procédés solaires". Same safety requirements as for windows and doors (EN12210 et EN 12211 safety test) => higher limits for load. One year ageing test with performance test at the end | Valid certificate Long term performance calculation with another draw-off profile than100 % at 6 p. m. (like in TC 128) Installer registered on a list (having signed a charter of quality "Qualisol") |
| Greece | No legal requirements at the moment | No requirements at the moment. However, activities have started and are running in order to establish rules and requirements for a national certification scheme | In the framework of several national programs concerning new installations of solar thermal products, several requirements for subsidy are set, depending on the program, such as: collector instantaneous efficiency must be higher than 45% (at G=800 W/m2 and Tm-Ta = 30K) collector heat loss coefficient FR.UL must be lower than 4 W/m2.K |
| Italy | No further requirements | No national certification scheme at the moment for solar collectors and solar heating systems | For national and most regional subsidy programmes, collectors and factory made systems have to be tested according to CEN standards by the Italian test lab, the ENEA research centre of Trisaia or by any other official European testing institute. Usually there are no requirements on top of the EN(V)s |
| The Netherlands | Hot water systems (including solar) have to fulfil requirements in Dutch standard for drinking water facilities NEN 1006. In principle the new Dutch Building Regulation is also in force for SDHW systems. | Preliminary National Certificate “Zonnekeur” is in force. Requirement are: NPR 7976 results Quality guarantee based on EN 12976 (partly) Installation check list Final certificate is in progress and is ready end 2002. Requirements are in principle conformity with full EN 12976. Devations from EN 12976-1 are: Clause 4.1.1 Drinking water quality is covered by NEN 1006. EN 806-1 and EN 1717 are skipped from the requirements. Clause 4.1.3.2 For anti freeze fluids a Dutch KIWA –ATA certificate is required Clause 4.1.4.1 a maximum of 65oC is allowed Clause 4.1.6 Conformity to prEN 12897: 1997 is dropped Clause 4.3.5 Supplement: Supplier should report special restrictions with respect to water hardness and chlorine concentration of used heat media Clause 4.6.1 Documentation should be issued in national language (country in which system is sold) Clause 4.6.1 Documentation: in addition a standardised installation check list should be added for installers. Clause 4.6 Labelling: additional is required: NPR 7976 result, m2 aperture area, solar fraction. Clause 4.6: Installation instructions: After solar preheater water can be mixed to a temperature not lower than 60o C. Auxilary heater should be designed for withstanding inlet temperatures up to at least 75 o C. Clause 4.8 Thermal performance should be calculated according to NPR 7976. (DST is allowed for preheaters) Clause 4.8: Supplement: Supplier should report parasitic energy use of special anti freeze equipment (if present). General deviations Scheme rules are not same as solar keymark. Applying for empowered body for issuing Solar Keymark is under consideration. ISO/FDIS 11924 is adopted as normative Annex within Zonnekeur requirements As informative Annex is adopted with requirements evolving from new Dutch Building regulations. In case of product families a special procedure is in force for choosing test object (based on guidelines and expert opinion). | SDHW system should be tested according to Dutch Guideline NPR 7976 “Determination of the thermal performance of factory made solar domestic hot water systems – Conversion procedure based on the Dutch reference conditions, NEN January 2001” Test method is ISO/FDIS 9459-5, which is adopted in NPR 7976 as Annex E. |