## DIN’s (and prEN) for water tanks

# Harald Drueck, 30/10, 2002

Two series of DIN standards (DIN 4708 and DIN 4753) are relevant:

### DIN 4708

- DIN 4708-1, Publication date:1994-04

Central heat-water-installations; terms and calculation-basis

- DIN 4708-2, Publication date:1994-04

Central heat-water-installations; rules for the determination of the water-heat-demand in dwelling-houses

- DIN 4708-3, Publication date:1994-04

Central heat-water-installations; rules for testing the efficiency of water-heaters in dwelling houses.

In this standard the determination of the following quantities is described:

- storage volume

- thermal power that can be continuously delivered

- thermal capacity of store

- performance figure NL (this is a kind of "performance figure" that describes how many standard dwellings (NL=1) can be supplied with the performance of a store)

### DIN 4753-1

- DIN 4753-1, Publication date:1988-03

Water heaters and water heating installations for drinking water and service water; requirements, marking, equipment and testing (This standard is available in English)

- DIN 4753-2, Publication date:1984-01

Water heating installations for drinking water and for water for industrial purposes; procedure of registration of water heaters and of water heating installations

- DIN 4753-3, Publication date:1993-07

Water heaters and water heating installations for potable water and for service water; corrosion protection on  the water side by enameling; requirements and testing

- DIN 4753-4, Publication date:1994-10

Water heaters and water heating installations for drinking water and service water - Part 4: Corrosion  protection on the water side by means of hot-setting, duroplastic coating materials; requirements and testing

- DIN 4753-5, Publication date:1994-10

Water heaters and water heating installations for drinking water and service water - Part 5: Corrosion protection on the water side by means of foil coating made from natural or synthetic rubber; requirements and testing

- DIN 4753-6, Publication date:1986-02

Water heating installations for drinking water and service water; cathodic corrosion protection of enameled

steel containers; requirements and testing  (This standard is available in English)

- DIN 4753-7, Publication date:1988-10

Water heaters and water heating installations for drinking water and service water; corrosion protection on the water side by corrosion-resistant metallic materials; requirements and testing (This standard is available in Englisch)

- (Pre-standard) DIN V 4753-8, Publication date:1996-12

Water heaters and water heating installations for drinking water and for service water - Part 8: Thermal insulation for water heaters with nominal capacity up to 1000 l - requirements and testing

- DIN 4753-9, Publication date:1990-09

Water heaters and water heating installations for drinking water and service water; corrosion protection on the water side by means of thermoplastic coating materials; requirements and testing

- DIN 4753-10, Publication date:1989-05

Water heating installations for drinking water and service water; cathodic corrosion protection of uncoated steel  vessels; requirements and testing

- DIN 4753-11, Publication date:1990-02

Water heaters and hot water systems for drinking and service water; indirect heat exchangers; requirements, testing and marking  (This standard is available in English)

Only a very few standards are available in English.

Further information can be found in the web: www.beuth.de

A rough look into prEN12897 gives the impression that the contents of this standard is included in the DIN standards mentioned above.