Lisbon Meeting: Notes concerning ENV12977 Custom Built Systems

# NOTES taken by Jan Erik Nielsen

4 laboratories have implemented (some) of the ENV12977 standards – only one has obtained accreditation. As we found out that Keymark can not be based on ENV’s, this task had lower priority in the project. It is clearly seen now that the market for testing is focusing on tests leading to Keymarking.

Still only a few comments and lessons learned from using the standards were given at this fifth meeting, and some problems remains:

- Problem of two store test procedures

- Time consuming store test procedures

- Round Robin on thermal performance of stores, no decision taken

- Methods for calculating measurement uncertainty still missing,

- Reporting format: Has to be fixed.

All participating laboratories seem to have a working quality assurance system, and nobody expected any problems with the actual accreditation procedure, that needed to be addressed in the network.

Enclosed next two pages:

- Tables for participating labs in ENV 12977-2&3

- Comments – so far – on the standards

| Comments so far to the standards ENV 12977-2: System Test |
| --- |
| Laboratory | Deadline for implementation | Deadline for accreditation | Comments |
| Arsenal (Austria) | In consideration | In consideration |  |
| Demokritos (Greece) | In consideration | No |  |
| DTI (Denmark) | In consideration | No |  |
| ENEA (Italy) | No | No |  |
| ITW (Germany) | Ready | Ready |  |
| IZES (Germany) | ? | ? |  |
| SP (Sweden) | Ready | In consideration |  |
| SPF (CH) | In consideration | In consideration |  |
| CSTB (F) | No | No |  |

| ENV 12977-3: Storage Performance Test |
| --- |
| Laboratory | Deadline for implementation | Deadline for accreditation | Comments | Test 6.3.1 Analytical | Test 6.3.2 Par. ident. | Test 7 In system test |
| Arsenal (Austria) | In consideration | In consideration |  |  |  |  |
| Demokritos (Greece) | No | No |  |  |  |  |
| DTI (Denmark) | Implemented, but not operated | No | UA determination time consuming | X |  |  |
| ENEA (Italy) | No | No |  |  |  |  |
| ITW (Germany) | Ready | Ready | Good experience with parameter identification method | X (only heat loss rate and capacity) | X | X |
| IZES (Germany) | ? | ? | Simplification wanted |  | ? |  |
| SP (Sweden) | Ready | In consideration | Testing and evaluation is time consuming |  |  | X |
| CSTB | In consideration | No | Not planned for the moment |  |  |  |
| SPF | Ready | No |  |  |  |  |

| Laboratory | Comments to ENV 12977-3: Storage Performance |
| --- | --- |
| Arsenal (Austria) |  |
| Demokritos (Greece) |  |
| DTI (Denmark) | p10: 0,05 ->0,1 K p12: control deviation of store inlet temp. 0,1K p14: 0,02->0,05 K p22: Other UA-method / fewer T-points Maybe only one heat loss coefficient necessary |
| ENEA (Italy) |  |
| ITW (Germany) | - good experience with parameter identification method - no experience with determination of the heat transfer capacity rate of immersed heat exchangers according to 6.3.1.1.3 and. 6.3.1.2.6 resp. |
| IZES (Germany) | P10 (which inlet temperatures are meant?) and p14 like DTI Generally very time consuming and expensive test Comparison of results of the parameter identification with results of analytical method Round Robin test is probably too time consuming, exchange of data is sufficient |
| SP (Sweden) |  |