## Sheet1
Collector efficiency
Input in green fields
Optical efficiency, n0: |  |  |  | 0.8 | -
1st order heat loss coefficient, a1: |  |  |  | 3.5 | W/(m²*K)
2nd order heat loss coefficient, a2: |  |  |  | 0.02 | W/(m²*K²)
Temperature difference between collector fluid and ambient, Tm-Ta: |  |  |  | 50 | K
Solar irradiance on collector plane, G: |  |  |  | 800 | W/m²
Collector efficiency, n: |  |  |  | 0.51875 | -
Ta | 20 | Evacuated tube | Flat plate | Un-glazed | Own input
| n0 | 0.76 | 0.78 | 0.9 | 0.8
| a1 | 1.2 | 3.2 | 20 | 3.5
| a2 | 0.008 | 0.015 | 0 | 0.02
Tm | Tm-Ta | Evacuated tube | Flat plate | Un-glazed | Own input
20 | 0 | 0.76 | 0.78 | 0.9 | 0.8
25 | 5 | 0.75225 | 0.75953 | 0.775 | 0.7775
30 | 10 | 0.744 | 0.73813 | 0.65 | 0.75375
40 | 20 | 0.726 | 0.6925 | 0.4 | 0.7025
50 | 30 | 0.706 | 0.64312 | 0.15 | 0.64625
60 | 40 | 0.684 | 0.59 | -0.1 | 0.585
70 | 50 | 0.66 | 0.53312 | -0.35 | 0.51875
80 | 60 | 0.634 | 0.4725 | -0.6 | 0.4475
100 | 80 | 0.576 | 0.34 | -1.1 | 0.29
120 | 100 | 0.51 | 0.1925 | -1.6 | 0.1125
120 | 50 | 0.66 | 0.53312 | -0.35 | 0.51875
Jan Erik Nielsen, ESTIF, 2006