## Page1
CERTIFICATION BODY HEADER field available for logo etc.
[26 empty] | Page |  |  | 1 | of | 2 |  |  |  | ▼ | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150
Summary of annex to Solar KEYMARK Certificate |  |  | EN12977-5 | [5 empty] | CONTROLLER test results | [9 empty] | Licence Number | [6 empty] | LicenceNumber | [8 empty] | ▼ | 1: EN12977-5
Annex to Solar KEYMARK Certificate | [18 empty] | Issued | [6 empty] | yyyy-mm-dd
Company |  |  |  | SolarCompany | [14 empty] | Country |  |  | CountryName
Brand (optional) |  |  |  | BrandName | [14 empty] | Website |  |  | www.
Street |  |  |  | StreetName | [14 empty] | E-mail |  |  | @
Postal Code |  |  |  | 99999 |  |  |  | Cityname, Provincename | [10 empty] | Tel. / Fax |  |  | +99 |  | 999999999
Solar heating system controller - description and features
General control principle/type | [8 empty] | Multi-function controller | [6 empty] | No. temperature sensors | [9 empty] | 9 | [8 empty] | ▼ | 1: Differential thermostat; 2: Multi-function controller
No. clocks | [8 empty] | 9 | [6 empty] | No. irradiance sensors | [9 empty] | 9 | [8 empty] | ▼ | - | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
No. timers | [8 empty] | 9 | [6 empty] | No. flow sensorss | [9 empty] | 9
No. counters | [8 empty] | 9 | [6 empty] | No. pressure sensors | [9 empty] | 9
No. differential thermostats | [8 empty] | 9 | [6 empty] | No. level sensors | [9 empty] | 9
No. output for pumps | [8 empty] | 9 | [6 empty] | No. outputs for magnetic valves | [9 empty] | 9
No. other outputs | [8 empty] | 9 | [6 empty] | No. output for motor valves | [9 empty] | 9
Freeze damage protection | [8 empty] | ▼ | [6 empty] | Power in W (control box only) | [9 empty] | 9 | [8 empty] | ▼ | Included | Multi-function controller 1: Not included
Scald protection | [8 empty] | ▼ | [6 empty] | Input voltage range (V) | [9 empty] | 999 |  | to | 999 |  | V | ▼ |  |  | ▼ | ≈ | Multi-function controller 1: =; Multi-function controller 2: ▼; Multi-function controller 3: Yes; Multi-function controller 4: No
High temperature protection | [8 empty] | ▼ | [6 empty] | Photovoltaic supply | [9 empty] | ▼
Solar heating system controller - test results
Parameter |  | Test result | [8 empty] | Sensor no: |  |  | 1 |  | 2 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
Clock |  | Max. tolerance** | [8 empty] | min/mon |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Timer |  | Max. tolerance** | [8 empty] | min/mon |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Counter |  | Max. tolerance | [8 empty] | % |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Temperature sensor |  | Min. temp.**** | [8 empty] | °C |  |  | -99 |  | -99 | -99 |  | -99 |  | -99 |  | -99 |  | -99 |  | -99 |  | -99 |  | -99
|  | Max. temp.**** | [8 empty] | °C |  |  | 999 |  | 999 | 999 |  | 999 |  | 999 |  | 999 |  | 999 |  | 999 |  | 999 |  | 999
|  | Tolerance at max. temp.*** | [8 empty] | K |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Irradiance sensor |  | Max. irradiance*** | [8 empty] | % |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
|  | Tolerance at max. irrad.*** | [8 empty] | % |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Flow sensor |  | Min. flow rate**** | [8 empty] | m3/h |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
|  | Max. flow rate**** | [8 empty] | m3/h |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
|  | Tolerance at max. flow*** | [8 empty] | m3/h |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Pressure sensor |  | Min. pressure**** | [8 empty] | kPa |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
|  | Max. pressure**** | [8 empty] | kPa |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
|  | Tolerance at max. pres.*** | [8 empty] | kPa |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Level sensor |  | Min. level **** | [8 empty] | xxx |  |  | 9999 |  | 9999 | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | Give unit for level sensor
|  | Max. level **** | [8 empty] | xxx |  |  | 9999 |  | 9999 | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | 9999 |  | Give unit for level sensor
|  | Tolerance at max. level*** | [8 empty] | xxx |  |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | Give unit for level sensor
**) Tolerance given in minutes per month. ***) Max. tolerance in whole sensor range. ****) Specified by manufacturer
Differential thermostats
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
Range ΔTON |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9 |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9
Range ΔTOFF |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9 |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9
Temp. level |  | 20°C |  |  |  | 80°C |  |  |  | 20°C |  |  |  | 80°C |  |  | 20°C |  |  |  | 80°C |  |  |  | 20°C |  |  |  | 80°C |  |  |  | The temperaure level is the temperature level for the sensor at lowest temperature
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
ΔTON |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
ΔTOFF |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Flow rate control
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
Flow rate |  | 25% |  | 99% |  | 75% |  | 99% |  | 25% |  | 99% |  | 75% |  | 99% | 25% |  | 99% |  | 75% |  | 99% |  | 25% |  | 99% |  | 75% |  | 99% |  | SET values of 25% and 75% (of max. flow rate) are propose values - can be adapted by test lab
Temperature control
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
Temperature |  | 20 |  | 99.9 |  | 90 |  | 99.9 |  | 20 |  | 99.9 |  | 90 |  | 99.9 | 20 |  | 99.9 |  | 90 |  | 99.9 |  | 20 |  | 99.9 |  | 90 |  | 99.9 |  | SET values of 20°C and 90°C are propose values - can be adapted by test lab
Testing Laboratory | [11 empty] | SolarTestLab
Website | [11 empty] | www.
Test report id. number | [11 empty] | RepNo.-99
Date of test report | [11 empty] | yyyy-mm-dd
Version 0.4, 2015-05-05
CERTIFICATION BODY FOOTER address etc.
Geometrical data
Weight

## Page2
CERTIFICATION BODY HEADER field available for logo etc.
[26 empty] | Page |  |  | 1 | of | 2
Summary of annex to Solar KEYMARK Certificate |  |  | EN12977-5 | [5 empty] | CONTROLLER test results | [9 empty] | Licence Number | [6 empty] | LicenceNumber
Annex to Solar KEYMARK Certificate | [18 empty] | Issued | [6 empty] | yyyy-mm-dd
Company |  |  |  | SolarCompany | [14 empty] | Country |  |  | CountryName
Brand (optional) |  |  |  | BrandName | [14 empty] | Website |  |  | www.
Street |  |  |  | StreetName | [14 empty] | E-mail |  |  | @
Postal Code |  |  |  | 99999 |  |  |  | Cityname, Provincename | [10 empty] | Tel. / Fax |  |  | +99 |  | 999999999
Differential thermostats (cont.)
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
Range ΔTON |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9 |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9
Range ΔTOFF |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9 |  |  | 99.9 |  | - |  | 99.9 |  |  |  | 99.9 |  | - |  | 99.9
Temp. level |  | 20°C |  |  |  | 90°C |  |  |  | 20°C |  |  |  | 90°C |  |  | 20°C |  |  |  | 90°C |  |  |  | 20°C |  |  |  | 90°C
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
ΔTON |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
ΔTOFF |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9 |  | 99.9
Flow rate controllers (cont.)
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
Flow rate |  | 25% |  | 99% |  | 75% |  | 99% |  | 25% |  | 99% |  | 75% |  | 99% | 25% |  | 99% |  | 75% |  | 99% |  | 25% |  | 99% |  | 75% |  | 99%
Temperature controllers (cont.)
|  | Name/Number | [7 empty] | Name/Number | [6 empty] | Name/Number | [7 empty] | Name/Number
SET/MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS |  | SET |  | MEAS
Temperature |  | 20 |  | 99.9 |  | 90 |  | 99.9 |  | 20 |  | 99.9 |  | 90 |  | 99.9 | 20 |  | 99.9 |  | 90 |  | 99.9 |  | 20 |  | 99.9 |  | 90 |  | 99.9
Description of controls/functions
Testing Laboratory | [11 empty] | SolarTestLab
Website | [11 empty] | www.
Test report id. number | [11 empty] | RepNo.-99
Date of test report | [11 empty] | yyyy-mm-dd
Comments of test lab | [20 empty] | Stamp & signature of test lab
Comments ...
Version 0.4, 2015-05-05
CERTIFICATION BODY FOOTER address etc.
Geometrical data
Weight